Add these two sections:

105.20  Contractor Quality Control.  The contractor shall perform Quality Control (QC) in accordance with the contract and specifications.  Contractor QC responsibilities shall include all specified QC material testing and general quality control monitoring of all construction activities to ensure all materials and workmanship meet requirements.  The engineer or designee shall perform Quality Assurance (QA) testing and monitoring except as specified otherwise in the contract or specifications.

105.21  Project Safety.  The contractor shall develop and implement a plan for project safety as specified in Sec 107.