Reviewers:  Use this BSP for all box culverts or whenever work is performed below the water table, including pile encasement and pouring substructure concrete (except for drilled shafts).  Modify paragraphs 1.0 and 2.0 as needed for work besides box culverts.

DEWATERING						11/10/22

1.0  Description.  This provision covers dewatering the site as necessary to provide a suitable condition for construction of the box culvert as approved by the engineer.  This work will only be performed at the discretion of the engineer and will be underrun if not required by the engineer.  If the engineer determines it necessary to provide dewatering, the work shall be performed in accordance with Sec 206 and this job special provision.

2.0  Construction Requirements.  Dewatering shall provide a dry work area suitable to construct the box culvert within specifications, as approved by the engineer.  Typical dewatering methods consist of, but are not limited to, construction of cofferdams, seal courses, over excavation, well point systems, dewatering and drainage diversion.  Any dewatering method utilized shall conform to all environmental laws and regulations.

3.0  Method of Measurement.  No measurement will be made.

4.0  Basis of Payment.  Payment for dewatering will be made regardless of which dewatering means is utilized.  No payment will be made if the work area is not maintained in a dewatered state as approved by the engineer.  The lump sum payment for dewatering will be considered full compensation, and no time extensions will be made regardless of which means and methods are utilized by the contractor.