WATERPROOFING		9/2/04

1.0  Description.  This work shall consist of furnishing and applying waterproofing material to the railroad bridge concrete deck supporting the ballasted track.  For asphaltic membrane systems, waterproofing shall consist of the following:  one coat of asphaltic primer; two layers of asphalt treated cotton fabric with three moppings of asphalt or if specified, three layers of asphalt treated cotton fabric and four moppings of asphalt; and a protective covering of asphalt plank.  A butyl rubber membrane system may be used in lieu of an asphaltic membrane as waterproofing and shall consist of a primer compatible with the system, butyl rubber membrane application and a protective covering of asphalt plank.

2.0  Material.  All material shall be in accordance with Division 1000, Material Details, and specifically as follows:

| Item |  | Section |
| --- | --- | --- |
| Concrete and Asphalt Joint Sealer, Hot-Poured Elastic Type |  | 1057 |

2.1  Bituminous Prime Coat.

2.1.1  Asphalt primer shall be in accordance with ASTM D 41.

2.1.2  Creosote primer shall be in accordance with ASTM D 43.

2.2  Bituminous Mop Coat.  The bitumen shall consist of asphalt or coal tar bitumen.  The type of bitumen used for mopping shall be the same as that used for treatment of the fabric.

2.2.1  Asphalt shall be in accordance with ASTM D 449, Type II.

2.2.2  Coal tar bitumen shall be in accordance with ASTM D 450, Type III.

2.3  Fabric.  Bitumen-treated cotton fabric shall be in accordance with ASTM D 173.

2.4  Asphalt Plank.  Asphalt plank shall be in accordance with ASTM D 517.

2.5  Preformed Fiber Expansion Joint Filler.  Preformed fiber expansion joint filler shall be in accordance with AASTHO M 213.

2.6  Butyl Rubber Membrane.  Butyl rubber membrane shall be in accordance with ASTM D 6134.

2.6.1  Adhesive for securing butyl rubber membrane and for securing the membrane protective cover shall be in accordance with the recommendations of the butyl rubber membrane manufacturer.

2.6.2  Rubber cement for splicing butyl rubber membrane shall be a self-vulcanizing butyl rubber compound in accordance with the following requirements:

| Item | Specific Value |
| --- | --- |
| Rotational Viscosity (Brookfield), 77°F (25°C), Spindle #3, 10 rpm (ASTM D 2196), cps | 1700 - 3400 |
| Solids Content, percent, min | 30 |

2.6.3  Butyl gum tape for splicing butyl rubber membrane shall be unvulcanized, black butyl rubber with an 8 mil (200 µm) polyethylene film backing. The total tape thickness shall be 30 mils ±4 mils (0.8 mm ±100 µm), including the polyethylene film backing.

3.0  Construction Requirements.

3.1  Waterproofing shall not be applied in wet weather nor when the ambient temperature is below 50°F (10°C).  Concrete shall be dry and clean before waterproofing is applied.  If bituminous material is used for curing, the bituminous material may also serve as a priming coat, except that additional primer may be necessary before application of the waterproofing material when directed by the engineer.  Projections that might damage the waterproofing shall be removed.  There shall be no depressions or pockets in horizontal surfaces of finished waterproofing except those required for drainage.

3.2  Surfaces to be waterproofed shall be primed by covering the surfaces either with a light priming coat of asphaltic primer or with a creosote priming coat, except as otherwise specified at joints.  The primer shall be applied without heating at the approximate rate of one gallon per 100 square feet (0.4 L/m2) of surface.  The primer may be thinned by the addition of a small quantity of appropriate solvent.  Joints shall be sealed with concrete and asphalt joint sealer, hot-poured elastic type, prior to application of waterproofing material.  At deflection and expansion joints, primer shall be omitted for a width of 18 inches (450 mm) on each side of the joint and a strip of impervious paper 36 inches (900 mm) wide and a similar width sheet of 22-gage galvanized metal shall be placed before waterproofing is applied.

3.3  Asphaltic Membrane.

3.3.1  Surfaces to be waterproofed shall be mopped in sections.  While the first mopping of asphalt is still hot, a strip of cotton fabric shall be laid on the mopping and pressed into place.  Each mopping thereafter shall be applied such that the mopping will completely cover and seal the cotton fabric.  The asphalt for each application shall be applied at a rate of no less than 4.5 gallons per 100 square feet (1.8 L/m2) of surface.  Asphalt shall be heated to permit uniform application but shall not be heated above a temperature of 350°F (175°C).

3.3.2  Two layers of cotton fabric waterproofing shall be started by mopping a section of the surface 2 inches (50 mm) wider than half the width of the fabric.  On this hot mopping, a half width of the fabric shall be laid.  The top surface of this fabric and an adjacent section of the surface 2 inches (50 mm) wider than a half width of the fabric shall then be mopped.  On this mopping shall be laid a full width of the fabric, completely covering the first strip.  Thereafter full widths of fabric shall be laid in hot moppings, and in such manner that each strip will lap the second preceding strip by 2 inches (50 mm).  End laps shall be not less than 12 inches (300 mm).

3.3.3  Three layers of cotton fabric waterproofing shall be placed as for two layers, except that the first strip shall be a 1/3 width of the fabric, the second a 2/3 width, and the third and succeeding strips full widths.  The second full strip shall lap the first strip at least 2 inches (50 mm).  Each succeeding strip shall lap the third preceding strip at least 2 inches (50 mm).

3.3.4  The waterproofing shall be turned into drainage openings without breaking.  Waterproofing shall be made effective along the sides and ends of slab, at gussets, stiffeners and all other places where waterproofing terminates.  Work shall be regulated such that at the end of the day all fabric that has been placed will have received a coat of asphalt.  The waterproofing shall be free from punctures, pockets or folds.  Patching of defective waterproofing shall extend at least 12 inches (300 mm) beyond the outermost edge of the defective portion.  The second and each succeeding ply of the patch shall extend at least 3 inches (75 mm) beyond the preceding ply.

3.3.5  Asphalt planking shall be applied in accordance with section 3.5 of this special provision.

3.4  Butyl Rubber Membrane.

3.4.1  Butyl rubber membrane may be secured with an adhesive in lieu of the hot mopping of bitumen.  The application shall be in a thin layer in accordance with the manufacturer’s recommendations at a minimum rate of one gallon per 60 square foot (0.68 L/m2).  Membrane sheets shall be positioned in a tight manner, but not stretched.  Half of the membrane shall then be uniformly rolled up in a direction away from the starting edge or subsequent splice.  Adhesive shall be applied to the area exposed.  The adhesive shall be allowed to dry in accordance with the manufacturer’s recommendations.  The membrane shall be unrolled, pressed firmly and uniformly into place, using care to avoid trapping of air.  The remaining half of the butyl membrane sheet shall be placed in a similar manner.  Wrinkles and buckles will not be allowed, and each succeeding sheet shall be positioned to fit the previously installed sheet and spliced.

3.4.2  Splices shall be tongue and groove or lap type, with a minimum overlap of 6 inches (150 mm).  Contact surfaces for splices shall be thoroughly cleaned and cemented.  Cleaning agents or synthetic cleaning devices shall be used and shall be in accordance with the manufacturer’s recommendations.  The butyl rubber cement shall be spread continuously on the seam, lap and splice areas at a minimum uniform rate of 2 gallons per 100 square foot (0.8 L/m2).  After the butyl rubber cement has dried in accordance with manufacturer’s recommendations, butyl gum tape shall be applied to the membrane area to obtain full contact.  Bridging and wrinkles shall be avoided.  A 2 inch (50 mm) factory-made heat-vulcanized seam may be used for one side of the 6 inch (150 mm) tongue and groove splice instead of the 6 inch (150 mm) lap.  Butyl gum tape shall be extended at least 1/8 inch (3 mm) beyond all edges of each splice.  Lap sealant shall be used on the top of all edges to provide continuity.

3.4.3  Flashing with prefabricated or field-fabricated boots and fitted coverings shall be used as necessary at all projections such as pipe, conduits, sleeves, etc. to provide watertight construction.  Butyl gum tape shall be used between layers of rubber membrane at the flashing.  Any holes in the membrane sheeting shall be patched in accordance with the manufacturer’s recommendations, with a minimum overlap of 4 inches (100 mm).  Care shall be exercised during construction so that the membrane is not damaged before the asphalt plank is completed.

3.4.4  Asphalt planking shall be placed in accordance with section 3.5 of this special provision.  For protection of butyl rubber membrane system, the planks shall be laid in a coating of bonding adhesive.  The rate of application shall be as previously specified.  Voids between the joints shall be filled with a compatible material.

3.5  Asphalt Planking.  Asphalt planking used as a protective covering for waterproofing systems shall be placed as soon as practical after the membrane has been applied.  The surface of the membrane shall be kept free of dirt or other foreign material.

3.5.1  Asphaltic Membrane System.  Immediately prior to laying the planking, a hot asphalt coating shall be applied at a rate of no less than 50 pounds per 100 square feet (2.5 kg/m2).  As successive planks are laid, the edges and ends of adjacent planks already laid shall be coated heavily with hot asphalt.  The planks shall be laid tightly against those previously laid so that the asphalt will completely fill the joints and be squeezed out at the top.  After all planks are laid, any joints not completely filled shall be filled with hot asphalt.  The ends of adjacent planks shall be staggered.

3.5.2  Butyl Rubber Membrane System.  The asphalt plank shall be laid in a coating of bonding adhesive.  The bonding adhesive shall be the same as that used for securing the membrane to the deck.  The adhesive shall be applied at a rate of no less than one gallon per 100 square foot (0.4 L/m2).  Voids between the joints shall be filled with a compatible material.

4.0  Method of Measurement.  Waterproofing will be measured to the nearest square yard (m2) for the actual surface area over which the waterproofing extends, including the portions of the faces of the curbs and ends of slab.  Final measurement of waterproofing the railroad bridge concrete deck will not be made except for authorized changes during construction or where appreciable errors are found in the contract quantity.  The revision or correction will be computed and added to or deducted from the contract quantity.

5.0  Basis of Payment.  Payment for the above described work, including all material, equipment, labor and any other incidental work necessary to complete this item, will be considered completely covered by the contract unit price for “Waterproofing”.