GROUTING SHORT COLUMN JACKETS		9/2/04

1.0  Description.  This work shall consist of installation of grout between the columns and steel clamshell jackets as shown on the plans by means of vibrating as directed by the engineer and in accordance with the grout manufacturer's applicable specifications.  The contractor shall provide a way to maintain a uniform gap between clam shell jacket and column that is acceptable to the engineer.

2.0  Materials.

2.1  Mortar for grouting behind steel clamshell jackets shall be one of the qualified non-metallic expansive mortars.  The qualified list is available through Construction and Materials or MoDOT’s web site.  When the gap between the column and the jacket is greater than the maximum placement thickness recommended by the manufacturer, the grout shall be extended with aggregate.  The type of aggregate and amount shall be as recommended by the manufacturer.

2.2  The paint system shall be as noted on the plans.

3.0  Construction Requirements.  All areas to be covered by steel clam shell jackets shall be cleaned by sandblasting or other approved method to the satisfaction of the engineer.

4.0  Method of Measurement.  Measurement of the fabricated structural carbon steel (misc.) for the steel jacket will be in accordance with Sec 712.10.1.

5.0  Basis of Payment.  Payment for the above described work, including all material, equipment, labor and any other incidental work necessary to complete this item, will be considered completely covered by the contract unit price for “Fabricated Structural Carbon Steel (Misc.)”.