| ELECTRICAL SYSTEMS TESTING REPORT |  | MoDOT Project Number |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Airport Name |  |  |  |
| ITEM DESCRIPTION |  |  | YES | NO | N/A |
| All airport lighting equipment and materials covered by Federal Aviation Administration (FAA) specifications have the prior approval of the FAA, and are listed in Advisory Circular (AC) 150/5345-53, Latest Edition, Airport Lighting Equipment Certification Program (Attach a list of those items accepted by certification to this form.) |  |  |  |  |  |
| All lighting power and control circuits are continuous and free from shorts. |  |  |  |  |  |
| All circuits are free from unspecified grounds. |  |  |  |  |  |
| The insulation resistance to ground of all nongrounded series circuits is not less than 50 megohms. |  |  |  |  |  |
| The insulation resistance to ground of all nongrounded conductors of multiple circuits is not less than 50 megohms. |  |  |  |  |  |
| All circuits are properly connected in accordance with applicable wiring diagrams. |  |  |  |  |  |
| All circuits are operable. Tests have been conducted that include operating each control not less than 10 times and the continuous operation of each lighting and power circuit for not less than 1/2 hour. |  |  |  |  |  |
| Additional Comments |  |  |  |  |  |
| Note: Each item with a "no" response must be fully explained on a separate attachment. |  |  |  |  |  |
| SPONSOR’S INSPECTOR OR REPRESENTATIVE |  |  |  |  |  |
| Date | Typed or Printed Name and Title | Signature |  |  |  |

Rev. 09/01/02