| PRECISION APPROACH PATH INDICATOR (PAPI) INSPECTION REPORT |  |  |  |  |  |  | MoDOT Project Number |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | Airport Name |  |  |  |  |  |
| RUNWAY |  |  |  |  | STATION |  |  |  |  |  |  |  |
| PAPI UNITS |  |  | AIMING ANGLE |  |  |  |  | MEASURED ANGLE |  |  |  |  |
| Inner Box |  |  |  |  |  |  |  |  |  |  |  |  |
| Second Box |  |  |  |  |  |  |  |  |  |  |  |  |
| Third Box |  |  |  |  |  |  |  |  |  |  |  |  |
| Outer Box |  |  |  |  |  |  |  |  |  |  |  |  |
| ITEM DESCRIPTION |  |  |  |  |  |  |  |  |  |  | YES | NO |
| The front face of each light unit in a bar is located on a line perpendicular to the runway centerline within a tolerance +/- 6 inches. |  |  |  |  |  |  |  |  |  |  |  |  |
| Each light unit is aimed outward into the approach zone on a line parallel to the runway centerline within a tolerance of +/- ½ degree. |  |  |  |  |  |  |  |  |  |  |  |  |
| The beam centers of all light units are within 1 inch of a horizontal plane that corresponds to the elevation given on the plans. |  |  |  |  |  |  |  |  |  |  |  |  |
| The lay out of each light unit is according to plan and the difference in lateral spacing between light units does not exceed one foot. |  |  |  |  |  |  |  |  |  |  |  |  |
| RUNWAY |  |  |  |  | STATION |  |  |  |  |  |  |  |
| PAPI UNITS |  |  |  | AIMING ANGLE |  |  |  |  | MEASURED ANGLE |  |  |  |
| Inner Box |  |  |  |  |  |  |  |  |  |  |  |  |
| Second Box |  |  |  |  |  |  |  |  |  |  |  |  |
| Third Box |  |  |  |  |  |  |  |  |  |  |  |  |
| Outer Box |  |  |  |  |  |  |  |  |  |  |  |  |
| ITEM DESCRIPTION |  |  |  |  |  |  |  |  |  |  | YES | NO |
| The front face of each light unit in a bar is located on a line perpendicular to the runway centerline within a tolerance +/- 6 inches. |  |  |  |  |  |  |  |  |  |  |  |  |
| Each light unit is aimed outward into the approach zone on a line parallel to the runway centerline within a tolerance of +/- ½ degree. |  |  |  |  |  |  |  |  |  |  |  |  |
| The beam centers of all light units are within 1 inch of a horizontal plane that corresponds to the elevation given on the plans. |  |  |  |  |  |  |  |  |  |  |  |  |
| The lay out of each light unit is according to plan and the difference in lateral spacing between light units does not exceed one foot. |  |  |  |  |  |  |  |  |  |  |  |  |
| Note: Each item with a "no" response must be fully explained on a separate attachment. |  |  |  |  |  |  |  |  |  |  |  |  |
| SPONSOR’S INSPECTOR OR REPRESENTATIVE |  |  |  |  |  |  |  |  |  |  |  |  |
| Date | Typed or Printed Name and Title |  |  |  |  | Signature |  |  |  |  |  |  |

Rev. 09/01/02