ITEM MO-155 FLY ASH TREATED SUBGRADE

# DESCRIPTION

155-1.1  This work shall consist of the addition of self-cementing fly ash, mixing and compacting the material to the required density to develop a stabilized subgrade section. This item applies to natural ground or fill and shall be constructed as specified herein and in conformity with the typical sections, lines and grades as shown on the plans or as established by the Engineer.

# MATERIALS

155-2.1 FLY ASH.  Fly ash shall comply with the physical requirements of ASTM D-5239 6.4 maintaining a minimum compressive strength of 500 psi at 7 days and the chemical requirements of ASTM Specifications C-618, Section 3.3 when sampled and tested in accordance with Sections 5, 6 and 8, unless otherwise shown on the plans. Fly ash shall be of the Class "C" designation containing a minimum of 25 percent CaO. The source of the ash shall be selected by the Contractor and approved by the Engineer in advance of stabilization operations in order that the required laboratory tests can be completed prior to construction without delaying the work. The fly ash shall conform to Department of Natural Resources fly ash regulations.

155-2.2 WATER.  The water used in the stabilized mixture shall be clean, clear, free of sewage, vegetable matter, oil, acid and alkali. Water known to be potable may be used without testing. All other sources shall be tested in accordance with AASHTO T26 and approved by the Engineer.

155-2.3 SOIL.  The soil for this work shall consist of materials on the site or selected materials from other sources and shall be uniform in quality and gradation, and shall be approved by the Engineer. The soil shall be free of roots, sod, weeds, and stones larger than 2-1/2 inches.

# COMPOSITION

155-3.1 FLY ASH.  Fly Ash shall be applied at the rate of [            ].

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

The engineer shall specify the recommended rate of application from the Geotechnical Report.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

155-3.2 TOLERANCES.  At final compaction, the fly ash and water content for each course of subgrade treatment shall conform to the following tolerances:

Material 				Tolerance

Fly Ash 				+ 0.5%

Water					0% to +2%

# EQUIPMENT

155-4.1 EQUIPMENT.  The machinery, tools, and equipment necessary for proper execution of the work shall be on the project and approved by the Engineer prior to beginning construction operations. Blending of the soil-fly ash mixture shall be accomplished by a direct hydraulic drive pulvamixer. Compaction shall be achieved using sheepsfoot or padfoot rollers. Rubber-tired rollers will not be permitted except for finish rolling of the stabilized section.

All machinery, tools and equipment used shall be maintained in a satisfactory and workmanlike manner.

Fly ash shall be stored and handled in closed weatherproof containers until immediately before distribution. Fly ash exposed to moisture prior to mixing with soils shall be discarded. If fly ash is furnished in trucks, each truck shall have the weight of fly ash certified on public scales or the Contractor shall place a set of standard platform truck scales or hopper scales at a location approved by the Engineer.

## CONSTRUCTION METHODS

155-5.1 GENERAL.  It is the primary purpose of this specification to secure a completed section of treated material which contains a uniform fly ash/soil mixture with no loose or segregated areas; has a uniform density and moisture content; is well bound for its full depth. It shall be the responsibility of the Contractor to regulate the sequence of his/her work; to process a sufficient quantity of material to provide a completed section as shown on plans; to use the proper amounts of fly ash; to achieve final compaction within the specified time; to maintain the work; and to rework the lifts as necessary to meet the above requirements.

155-5.2 WEATHER LIMITATION.  The soil-fly ash mixture shall not be mixed while the atmospheric temperature is below 40°F or when conditions indicate that temperatures may fall below 40°F within 24 hours, when it is foggy or rainy, or when soil or subgrade is frozen.

155-5.3 PREPARATION OF SUBGRADE.  Before other construction operations are begun, the area where the fly ash stabilized material will be placed shall be cut and shaped in conformance with the lines and grades shown on the plans.

All areas shall be firm and able to support, without displacement, the construction equipment and the compaction hereinafter specified. Soft or yielding subgrade shall be corrected and made stable by scarifying, adding fly ash, and compacting until it is of uniform stability.

Where the stabilized section is to extend below the cut surface, the fly ash shall be distributed uniformly across the surface in a quantity sufficient to provide the specified ash content. The fly ash shall be incorporated with a pulvamixer with water being added to achieve the specified moisture content.

155-5.4 MOISTURE CONTROL.  Moisture control shall be achieved through use of a pulvamixer equipped with a spray bar in the mixing drum capable of applying sufficient quantities of water to achieve the required moisture content for the soil-fly ash mixture. The system shall be capable of being regulated to the degree necessary as to maintain moisture contents within the recommended range.

Required moisture contents will be established by the Engineer based on laboratory tests with the site soils and specific fly ash to be used for the treatment. Final moisture content of the mix, immediately prior to compaction shall not exceed the specified range of moisture content. If moisture contents exceed the specified limits, additional fly ash may be added to lower moisture contents to the required limits. Lowering moisture contents by aeration following addition of fly ash will not be allowed.

155-5.5 APPLICATION OF FLY ASH.  Immediately prior to application of fly ash, the area shall be bladed to allow uniform distribution of fly ash. The fly ash shall be spread only on that area where the complete placement operation can be completed within 2 hours. The application and mixing of the fly ash with the soil shall be accomplished by the methods hereinafter described.

The fly ash shall be spread uniformly over the top of the subgrade by an approved screw-type auger spreader box or other approved spreading equipment. The amount of fly ash spread shall be the amount required for mixing to the specified depth which will result in the percentage determined in the job mix formula.

The fly ash shall be distributed at a uniform rate and in such manner as to reduce the scattering of fly ash by wind to a minimum. Fly ash shall not be applied when wind conditions, in the opinion of the Engineer, are detrimental to a proper application or becomes objectionable to adjacent property owners. A motor grader shall not be used to spread the fly ash.

155-5.6 MIXING.  The mixing procedure utilized shall be for Dry Placing as hereinafter described.

The full depth of the treated subgrade shall be mixed with a rotary pulvamixer which utilizes a direct hydraulic drive. Fly ash shall not be left exposed for more than 30 minutes after distribution. The mixing machine shall make two coverage’s. Water shall be added through use of a pulvamixer equipped with a spray bar in the mixing drum capable of applying sufficient quantities of water to achieve the required moisture content of the soil-fly ash mixture. The system shall be capable of being regulated to the degree as to maintain moisture contents within the recommended range.

Required moisture contents shall be established based on laboratory tests with the site soils and specific fly ash to be used for the treatment. Final moisture content of the mix, immediately prior to compaction, shall be determined in accordance with ASTM D 698 and shall not be below nor more than 2% above the optimum moisture content for maximum density of the mix. If moisture contents exceed the specified limits, additional fly ash may be added to lower the moisture content to the required limits. Lowering moisture contents by aeration following addition of the fly ash will not be permitted.

If the soil-fly ash mixture contains clods greater than 1-1/2” in size, they shall be reduced in size by additional pulverization.

155-5.7 COMPACTION.  Compaction of the soil-fly ash mixture shall begin immediately after mixing of the fly ash and be completed within two hours following incorporation of fly ash. Compaction of the mixture shall begin at the bottom and shall continue until the entire depth of mixture is uniformly compacted to the specified density using sheepsfoot or padfoot rollers. A test for both density and moisture content of the soil-fly ash mixture shall be taken for each 750 square yards of material placed.

The field density of the compacted mixture shall be at least 95 percent of the maximum density of laboratory specimens prepared from samples taken from material in place. The specimens shall be compacted and tested in accordance with ASTM D 698. The in-place field density shall be determined in accordance with ASTM D 1556, ASTM D 2167 or ASTM D 6938.

In lieu of the core method of field density determination, acceptance testing may be accomplished using a nuclear gage in accordance with ASTM D 6938 using the Direct Transmission Method. Calibration and operation of the gage shall be in accordance with the requirements of the manufacturer. The operator of the nuclear gage must show evidence of training and experience in the use of the instrument. The gage shall be standardized daily in accordance with ASTM D 6938.

All irregularities, depressions, or weak spots which develop shall be corrected immediately by scarifying the areas affected, adding or removing material as required and remixing and re-compacting. The surface of the course shall be maintained in a smooth condition, free from undulations and ruts, until other work is placed thereon or the work is accepted.

In addition to the requirements specified for density, the full depth of the material shown on the plans shall be compacted to the extent necessary to remain firm and stable under construction equipment. After each section is completed, tests will be made by the Engineer. If the material fails to meet the density requirements, it shall be reworked to meet these requirements. Throughout this entire operation, the shape of the course shall be maintained by blading, and the surface upon completion shall be smooth and shall conform with the typical section shown on the plans and to established lines and grades. Should the material, due to any reason or cause, lose the required stability, density and finish before the work is accepted, it shall be reprocessed, recompacted and refinished at the sole expense of the Contractor.  Reprocessing shall follow the same pattern as the initial stabilization including the addition of fly ash.

155-5.8 FINISHING AND CURING.  After the final layer or course of the fly ash treated subgrade has been compacted, it shall be brought to the required lines and grades in accordance with the typical sections. The finished surface shall not vary more than 3/8 inch when tested with a 16-foot straightedge applied parallel with and at right angles to the pavement centerline. Any variations in excess of this tolerance shall be corrected by the Contractor, at his/her own expense, in a manner satisfactory to the Engineer.

After the fly ash treated course has been finished as specified herein, the surface shall be protected against rapid drying by either of the following methods for a period of not less than three days or until the pavement section is placed.

1) Maintain in a thorough and continuously moist condition by sprinkling.

2) Apply a 2-inch layer of earth on the completed course and maintain in a moist condition.

155-5.9 THICKNESS.  The thickness of the fly ash treated subgrade shall be determined by depth tests or cores taken at intervals so that each test shall represent no more than 300 square yards. Where the thickness is deficient by more than 1/2 inch, the Contractor shall correct such areas in a manner satisfactory to the Engineer. The Contractor shall replace, at his/her expense, the soil/fly ash material where borings are taken for test purposes.

155-5.10 MAINTENANCE.  The contractor shall maintain, at his/her own expense, the entire fly ash-treated subgrade in good condition from the start of work until all the work has been completed, cured, and accepted by the Engineer.

# METHOD OF MEASUREMENT

12-6.1  The yardage of fly ash-treated subgrade to be paid for shall be the number of square yards completed and accepted.

12-6.2  The amount of fly ash to be paid for shall be the number of tons of fly ash, dry weight, used as authorized.

# BASIS OF PAYMENT

12-7.1  Payment shall be made at the contract unit price per square yard for the fly ash-treated subgrade of the thickness specified. The price shall be full compensation for furnishing all material, except the fly ash, and for all preparation, delivering, placing, mixing these materials, shaping and maintaining, for all curing including water, and all labor, equipment, tools and incidentals necessary to complete this item.

12-7.2  Payment shall be made at the contract unit price per ton (2,000 pounds) of fly ash. This price shall be full compensation for furnishing this material; for all delivery, placing, and incorporation of this material; and for all labor, equipment, tools, and incidentals necessary to complete this item.

Payment will be made under:

Item MO-155-7.1	Airport Fly Ash-Treated Subgrade- - per square yard

Item MO-155-7.2	Airport Fly Ash	- - per ton

### TESTING REQUIREMENTS

ASTM D 698	Moisture-Density Relations of Soils and Soil-Aggregate Mixtures Using 5.5 lb. (2.49 kg) Rammer and 12-in. (305mm) Drop

ASTM D 1556	Density of Soil in Place by the Sand-Cone Method

ASTM D 2167		Density of Soil in Place by the Rubber-Balloon Method

ASTM D 6938	Standard Test Method for In-Place Density and Water Content of Soil and Soil-Aggregate by Nuclear Methods (Shallow Depth).

AASHTO T26	Quality of Water to be Used in Concrete

# MATERIAL REQUIREMENTS

ASTM C 618	Coal Fly Ash and Raw or Calcined Natural Pozzolan for Use as a Mineral Admixture in Portland Cement Concrete