ITEM MO-620   RUNWAY AND TAXIWAY PAINTING

DESCRIPTION

620-1.1  This item shall consist of the painting of numbers, markings, and stripes on the surface of runways, taxiways, and aprons, in accordance with these specifications and at the locations shown on the plans, or as directed by the Engineer.

# MATERIALS

620-2.1  MATERIALS ACCEPTANCE.  The Contractor shall furnish manufacturer's certified test reports for materials shipped to the project. The certified test reports shall include a statement that the materials meet the specification requirements. The reports can be used for material acceptance or the Engineer may perform verification testing. The reports shall not be interpreted as a basis for payment. The Contractor shall notify the Engineer upon arrival of a shipment of materials to the site.

620-2.2  PAINT.  Paint shall be [Waterborne or Solvent-base] in accordance with the requirements as herein specified.  Paint shall be furnished in White - 37925, Yellow - 33538 or 33655 and Black - 37038 in accordance with Federal Standard No. 595.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

The Engineer shall specify paint type. Solvent base paint shall not be used on bituminous pavements.

Waterborne or solvent base black paint should be used to outline a border at least 6 inches wide around markings on all light colored pavements.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

a.  WATERBORNE.  Paint shall meet the requirements of Federal Specification TT-P-1952E, [Type I, Type II, or Type III].

b.  SOLVENT-BASE.  Paint shall meet the requirements of Federal Specification A-A-2886B [Type I or Type II].

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

For TT-P-1952E and A-A-2886B paints, the Engineer shall specify the type required.

Type I is intended for those locations where slower tracking is not an inconvenience.

Type II is intended for striping locations where faster curing is desirable.

Type III requires a more durable resin.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

620-2.3  REFLECTIVE MEDIA.  Glass beads shall meet the requirements for [Federal Specification TT-B-1325D, Type I--gradation A] [Federal Specification TT-B-1325D, Type III] [Federal Specification TT-B-1325D, Type IV]. Glass beads shall be treated with all compatible agents recommended by the manufacturer of the paint and reflective media to ensure adhesion and embedment.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

The Engineer shall specify the bead type.  The Engineer should consult with the paint manufacturer on the use of adhesion, flow promoting, and/or flotation additives.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

620-2.4  MATERIALS: The non-volatile portion of the vehicle for all paint types shall be composed of a 100% acrylic polymer as determined by infrared spectral analysis.  The acrylic resin used for Type III shall be a 100% cross linking acrylic as evidenced by infrared peaks at wavelengths 1568, 1624, and 1672 cm-1 with intensities equal to those produced by an acrylic resin known to be 100% cross linking.

# CONSTRUCTION METHODS

620-3.1  WEATHER LIMITATIONS.  The painting shall be performed only when the surface is dry and when the surface temperature is at least 45 degrees F and rising and the pavement surface temperature is at least 5 degrees F above the dew point. Markings will not be applied when the pavement temperature is greater than 120 degrees F.

620-3.2  EQUIPMENT.  Equipment shall include the apparatus necessary to properly clean the existing surface, a mechanical marking machine, a bead-dispensing machine, and such auxiliary hand-painting equipment as may be necessary to satisfactorily complete the job.

The mechanical marker shall be an atomizing spray-type or airless type-marking machine (truck mounted excluded) suitable for application of traffic paint. It shall produce an even and uniform film thickness at the required coverage and shall apply markings of uniform cross sections and clear-cut edges without running or spattering and without over spray.

620-3.3  SURFACE PREPARATION.  Immediately before application of the paint, the surface shall be dry and free from dirt, grease, oil, laitance, or other foreign material that would reduce the bond between the paint and the pavement. The area to be painted shall be cleaned by sweeping and blowing or by other methods as required to remove all dirt, laitance, and loose materials without damage to the pavement surface. Use of any chemicals or impact abrasives during surface preparation shall be approved in advance by the Engineer. Paint shall not be applied to Portland cement concrete pavement until the areas to be painted are clean of curing material. Sandblasting or high-pressure water shall be used to remove curing materials.

Prior to placing a new asphaltic concrete overlay, the existing surface shall be prepared in accordance with MO-601. Prior to placing the pavement friction sealcoat surface treatment, the existing surface shall be prepared in accordance with MO-623.

620-3.4  LAYOUT OF MARKINGS.  The proposed markings shall be laid out in advance of the paint application.  Glass beads shall be applied to all runway, taxiway, taxilane and apron markings.

620-3.5  APPLICATION.  Paint shall be applied at the locations and to the dimensions and spacing shown on the plans. Paint shall not be applied until the layout and condition of the surface has been approved by the Engineer.

The edges of the markings shall not vary from a straight line more than 1/2 inch in 50 feet and marking dimensions and spacings shall be within the following tolerances:

| Dimension and Spacing | ## Tolerance |
| --- | --- |
| 36 inches or less | +/- 1/2 inch |
| Greater than 36 inches to 6 feet | +/- 1 inch |
| Greater than 6 feet to 60 feet | +/- 2 inches |
| Greater than 60 feet | +/- 3 inches |

The paint shall be mixed in accordance with the manufacturer's instructions and applied to the pavement with a marking machine at the rate(s) shown in Table 1. The addition of thinner will not be permitted.

A period of thirty (30) days is required between placement of new pavement (concrete or bituminous surface course) and the application of paint as specified below. If these pavements are to be opened to air traffic prior to the thirty (30) day waiting period, the first application of pavement marking must be applied at the specified rate below.

Bituminous pavements sealed with the MO-623 Pavement Friction Sealcoat Surface Treatment, require a period of forty-eight (48) hours between placement of the sealcoat and application of the paint as specified below. However, if discoloration is evident, painting shall be discontinued and additional cure time of the sealcoat will be required. All discolored paint shall be replaced at the contractor’s expense.

The paint shall be applied in two (2) separate applications for all markings with the exception of taxiway centerline markings. The first application of the pavement markings shall be made at 25% of the application rate minus glass beads. The second application shall be made at 100% of the application rate with glass beads. The time lapse between the two applications shall be per the manufacturer’s recommendations. Taxiway centerline markings shall be applied in one application at 100% the application rate with glass beads.

Prior to the initial application of markings, the contractor shall certify in writing that the surface has been prepared in accordance with the paint manufacturer’s requirements, that the application equipment is appropriate for the marking paint and that environmental conditions are appropriate for the material being applied. This certification along with a copy of the paint manufactures application and surface preparation requirements must be submitted to the Engineer prior to the initial application of markings.

# TABLE 1.  APPLICATION RATES FOR PAINT AND GLASS BEADS

| ### Paint Type | Paint Square feet per gallon, ft2/gal | Glass Beads, Type I, Gradation A Pounds per gallon of paint --lb/gal | Glass Beads, Type III Pounds per gallon of paint—lb/gal | Glass Beads, Type IV Pounds per gallon of paint--lb/gal |
| --- | --- | --- | --- | --- |
| Waterborne | 115 ft2/gal Maximum | 7 lb/gal Minimum | 10 lb/gal Minimum |  |
| # Waterborne | 90 ft2/gal Maximum |  |  | 8 lb/gal Minimum |
| Solvent Base | 115 ft2/gal Maximum | 7 lb/gal Minimum | 10 lb/gal Minimum |  |
| Solvent Base | 90 ft2/gal Maximum |  |  | 8 lb/gal Minimum |

Glass beads shall be distributed upon the marked areas at the locations shown on the plans to receive glass beads immediately after application of the paint. A dispenser shall be furnished which is properly designed for attachment to the marking machine and suitable for dispensing glass beads.  Glass beads shall be applied at the rate(s) shown in Table 1. Glass beads shall not be applied to black paint. Glass beads shall adhere to the cured paint or all marking operations shall cease until corrections are made.

All emptied containers shall be returned to the paint storage area for checking by the engineer.  The containers shall not be removed from the airport or destroyed until authorized by the engineer.

620-3.6  PROTECTION.  After application of the paint, all markings shall be protected from damage until the paint is dry.  All surfaces shall be protected from excess moisture and/or rain and from disfiguration by spatter, splashes, spillage, or drippings of paint. The Contractor shall remove from the site all debris, waste, loose or unadhered reflective media, and by-products generated by the surface preparation and application operations to the satisfaction of the Engineer. The Contractor shall dispose of these wastes in strict compliance with all applicable state, local, and federal environmental statutes and regulations.

# METHOD OF MEASUREMENT

620-4.1  The quantity of runway, taxiway, taxilane and apron markings to be paid for shall be the number of square feet of painting performed in accordance with the specifications and accepted by the Engineer.

# BASIS OF PAYMENT

620-5.1  Payment shall be made at the respective contract price per square foot for runway, taxiway, taxilane and apron painting. No direct payment will be made for reflective media.  This price shall be full compensation for furnishing all materials and for all labor, equipment, tools, and incidentals necessary to complete the item.

Payment will be made under:

Item MO-620-5.1-1	Airport Runway Pavement Marking (White)--per square foot

Item MO-620-5.1-2	Airport Taxiway Pavement Marking (Yellow)--per square foot

Item MO-620-5.1-3	Airport Pavement Marking (Black)--per square foot

# MATERIAL REQUIREMENTS

Federal Standard 595		Colors used in Government Procurement

Fed. Spec. TT-P-1952E		Paint, Traffic and Airfield Marking, Waterborne

Commercial Item Description

(CID) A-A-2886B		Paint, Traffic, Solvent Based

Fed. Spec. TT-B-1325D		Beads (Glass Spheres) Retroreflective